## Results (sorted)
Analysis of Kaizad's Ammonium Extraction Samples (CB Sites)
|  | Na |  | K |  | Ca |  | Mg |  | Fe |  | Al |  | Mn |  | P
|  | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev
| Sample Name | 0=<0.2 mg L-1 |  | 0=<0.6 mg L-1 |  | 0=<0.02 mg L-1 |  | 0=<0.2 mg L-1 |  | 0=<0.04 mg L-1 |  | 0=<0.2 mg L-1 |  | 0=<0.04 mg L-1 |  | 0=<0.4 mg L-1
| PNNL 239 | 0.98538 | 0.021186 | 13.0561 | 0.21934 | 89.5922 | 0.68986 | 23.822 | 0.17866 | 0 | 0 | 1.2401 | 0.018601 | 0.14209 | 0.0055131 | 0 | 0
| PNNL 240 | 1.252 | 0.032928 | 26.6082 | 0.24746 | 46.1086 | 0.35504 | 23.0003 | 0.1771 | 0.089005 | 0.0024654 | 36.6791 | 0.10637 | 0.21087 | 0.0025093 | 0 | 0
| PNNL 241 | 1.6411 | 0.19086 | 29.2351 | 3.6632 | 143.724 | 5.0447 | 34.7227 | 2.2743 | 0 | 0 | 1.7382 | 0.067791 | 0.40416 | 0.0068303 | 0 | 0
| PNNL 242 | 1.3556 | 0.012065 | 29.2831 | 0.52417 | 94.5791 | 0.38777 | 29.5106 | 0.17706 | 0 | 0 | 2.1381 | 0.012615 | 0.10772 | 0.0019067 | 0 | 0
| PNNL 243 | 1.2981 | 0.014539 | 41.325 | 1.1695 | 100.1176 | 2.3227 | 50.8057 | 1.2143 | 0 | 0 | 22.5124 | 0.5493 | 0.53292 | 0.0018652 | 0 | 0
| PNNL 244 | 1.7754 | 0.043497 | 44.3247 | 0.55406 | 67.7787 | 1.159 | 47.4072 | 0.099555 | 0.12251 | 0.0042022 | 85.6633 | 0.66817 | 0.26002 | 0.0054864 | 0 | 0
| PNNL 245 | 1.0467 | 0.039461 | 21.2399 | 0.58197 | 122.9606 | 2.3854 | 38.2019 | 0.77932 | 0 | 0 | 9.099 | 0.070062 | 0.34759 | 0.0042058 | 0 | 0
| PNNL 246 | 1.7206 | 0.017722 | 33.1081 | 0.30791 | 151.6249 | 0.27292 | 74.4541 | 0.29782 | 0 | 0 | 7.0428 | 0.061272 | 0.6481 | 0.001361 | 0 | 0
| PNNL 247 | 47.1562 | 0.4527 | 31.8257 | 0.26415 | 34.5256 | 0.32799 | 34.7439 | 0.25016 | 0.40295 | 0.0047951 | 33.9318 | 0.1018 | 0.4831 | 0.0027536 | 0 | 0
| PNNL 248 | 12.1586 | 0.30275 | 17.095 | 0.60687 | 29.2415 | 0.36844 | 34.3941 | 0.57782 | 0.383 | 0.008809 | 13.6144 | 0.1661 | 0.71218 | 0.0054126 | 0 | 0
| PNNL 249 | 4.6064 | 0.033166 | 41.1108 | 0.25489 | 63.4516 | 0.67893 | 43.8622 | 0.096497 | 0.080576 | 0.0036823 | 73.625 | 0.6479 | 0.24205 | 0.0095853 | 0 | 0
| PNNL 250 | 0.52319 | 0.015068 | 0 | 0 | 0.44874 | 0.01059 | 0.49471 | 0.0082616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 251 | 0.38165 | 0.01332 | 0 | 0 | 0.37404 | 0.012642 | 0.45976 | 0.0045057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 252 | 15.561 | 0.052908 | 20.3221 | 0.091449 | 19.3086 | 0.11585 | 35.5466 | 0.14574 | 0.92627 | 0.0063912 | 24.2908 | 0.11417 | 0.68371 | 0.0051278 | 0 | 0
| PNNL 253 | 11.1101 | 0.28553 | 16.9329 | 0.3268 | 14.7315 | 0.13258 | 29.7606 | 0.38986 | 1.262 | 0.0050479 | 27.5746 | 0.082724 | 0.48431 | 0.002809 | 0 | 0
| PNNL 254 | 6.9808 | 1.6607 | 17.1131 | 3.5972 | 11.7087 | 1.3102 | 21.915 | 1.9417 | 7.5632 | 0.21404 | 19.4184 | 1.4428 | 0.39923 | 0.024513 | 0 | 0
| PNNL 255 | 2.456 | 0.077855 | 34.5717 | 2.1918 | 34.7041 | 0.21864 | 37.8224 | 1.6188 | 0.35087 | 0.006842 | 100.9197 | 3.5423 | 0.99732 | 0.0028922 | 0 | 0
| PNNL 256 | 2.5858 | 0.39149 | 13.6418 | 0.70801 | 22.4345 | 0.44869 | 24.045 | 0.60353 | 0.22637 | 0.0038936 | 64.3235 | 1.1964 | 1.1575 | 0.011112 | 0 | 0
| PNNL 257 | 3.4781 | 0.041389 | 15.2413 | 0.19661 | 17.8975 | 0.10738 | 22.6586 | 0.14728 | 0.45239 | 0.0056549 | 53.4508 | 0.22449 | 0.76696 | 0.0024543 | 0 | 0
| PNNL 259 | 430.5043 | 20.1907 | 24.0686 | 0.95312 | 38.2283 | 0.78368 | 89.2053 | 2.7564 | 0 | 0 | 0 | 0 | 0.40239 | 0.005553 | 0 | 0
| PNNL 260 | 321.1015 | 3.9495 | 22.4561 | 0.20884 | 35.6503 | 0.44563 | 72.2486 | 0.80196 | 0.19082 | 0.090964 | 0 | 0 | 0.23119 | 0.0032135 | 0 | 0
| PNNL 261 | 438.6628 | 29.8291 | 29.7364 | 1.695 | 30.9204 | 0.31539 | 84.1828 | 3.7293 | 0 | 0 | 0 | 0 | 0.21852 | 0.0047419 | 0 | 0
| PNNL 262 | 3.4668 | 0.1827 | 15.3707 | 0.53798 | 16.078 | 0.35854 | 21.6189 | 0.5902 | 0.43216 | 0.0052292 | 45.7843 | 0.34796 | 0.71207 | 0.0096842 | 0 | 0
| PNNL 263 | 0.53183 | 0.012179 | 0 | 0 | 0.45838 | 0.0021544 | 0.50014 | 0.0064018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 264 | 0.37825 | 0.020047 | 0 | 0 | 0.47967 | 0.043986 | 0.48482 | 0.015466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 265 | 409.7218 | 8.5632 | 21.8869 | 0.32174 | 37.7988 | 0.12096 | 84.7403 | 1.3643 | 0 | 0 | 0.20899 | 0.015027 | 0.5654 | 0.0037316 | 0 | 0
| PNNL 266 | 325.124 | 9.6887 | 18.6043 | 0.41116 | 46.8412 | 0.12647 | 83.0764 | 0.29908 | 0.052932 | 0.002202 | 0 | 0 | 0.62694 | 0.0035735 | 0 | 0
| PNNL 267 | 400.576 | 3.8055 | 21.3651 | 0.29697 | 34.2008 | 0.19494 | 78.5868 | 0.88803 | 0.036597 | 0.00051236 | 0.28915 | 0.009889 | 0.46473 | 0.0023237 | 0 | 0
| PNNL 268 | 405.3054 | 7.4982 | 19.6441 | 0.39092 | 32.1478 | 0.35684 | 78.0798 | 0.86669 | 0 | 0 | 0.27399 | 0.032961 | 0.79497 | 0.0062008 | 0 | 0
| PNNL 269 | 0.87081 | 0.0053119 | 8.6324 | 0.020718 | 25.3263 | 0.083577 | 11.8698 | 0.045105 | 0.27307 | 0.007646 | 41.5885 | 0.19547 | 0.13226 | 0.00093901 | 0 | 0
| PNNL 270 | 1.7338 | 0.17216 | 31.6906 | 0.31057 | 42.7616 | 0.6628 | 55.3205 | 0.2766 | 0.27309 | 0.0085204 | 111.6776 | 1.2061 | 0.16246 | 0.006661 | 0 | 0
| PNNL 271 | 1.7796 | 0.016372 | 30.8983 | 0.78791 | 187.6026 | 2.3826 | 65.0266 | 1.1445 | 0.15817 | 0.0040175 | 37.412 | 0.62852 | 0.13882 | 0.000708 | 0 | 0
| PNNL 272 | 1.3405 | 0.016354 | 23.0192 | 0.43046 | 99.2972 | 0.57592 | 41.297 | 0.31386 | 0.25421 | 0.0045249 | 75.6775 | 0.29514 | 0.061723 | 0.001216 | 0 | 0
| PNNL 273 | 1.2125 | 0.0090937 | 32.5076 | 0.28282 | 46.4758 | 0.19055 | 37.7266 | 0.37349 | 0.40426 | 0.0046085 | 100.8425 | 0.41345 | 0.059957 | 0.00036574 | 0 | 0
| PNNL 274 | 1.6174 | 0.097042 | 20.5725 | 0.055546 | 29.9517 | 0.062899 | 47.8215 | 0.99469 | 0.3538 | 0.0010614 | 135.2842 | 1.0958 | 0 | 0 | 0 | 0
| PNNL 275 | 1.5985 | 0.032609 | 31.8099 | 0.25766 | 44.0332 | 0.38749 | 55.8507 | 0.34627 | 0.36536 | 0.010449 | 112.801 | 0.4512 | 0.16502 | 0.0048681 | 0 | 0
| PNNL 276 | 2.4501 | 0.082077 | 0.88432 | 0.1032 | 0.47896 | 0.019494 | 0.51552 | 0.02258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 277 | 0.58613 | 0.0092609 | 0 | 0 | 0.42793 | 0.0042793 | 0.53607 | 0.0068616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 279 | 1.3778 | 0.017774 | 21.6089 | 0.22257 | 88.3431 | 0.91877 | 58.3779 | 1.0566 | 0.26679 | 0.013846 | 101.4597 | 1.3393 | 0.40663 | 0.0015452 | 0 | 0
| PNNL 278 | 1.4144 | 0.04215 | 28.9797 | 0.1449 | 81.0101 | 0.66428 | 46.4878 | 1.0925 | 0.24743 | 0.0020537 | 72.6514 | 1.1116 | 0.062622 | 0.0011209 | 0 | 0
| PNNL 280 | 40.3137 | 0.20963 | 33.7445 | 0.10798 | 8.5108 | 0.05532 | 32.7645 | 0.2228 | 0.45955 | 0.0094667 | 65.8425 | 0.49382 | 0.041968 | 0.00063791 | 0 | 0
| PNNL 281 | 4.2942 | 0.14343 | 13.2338 | 0.39172 | 9.161 | 0.14383 | 19.6013 | 0.30382 | 4.3199 | 0.0090718 | 25.4877 | 0.23704 | 0.20705 | 0.0032714 | 0 | 0
| PNNL 282 | 14.3796 | 0.07046 | 16.0139 | 0.072062 | 10.3132 | 0.12685 | 27.3355 | 0.13668 | 1.4636 | 0.06147 | 31.7559 | 0.20959 | 0.20622 | 0.0089705 | 0 | 0
| PNNL 283 | 6.2536 | 0.13383 | 12.7561 | 0.38523 | 6.0051 | 0.075063 | 16.7209 | 0.16219 | 14.5325 | 0.050864 | 18.27 | 0.12424 | 0.13542 | 0.0033043 | 0 | 0
| PNNL 284 | 8.3834 | 0.15677 | 16.9685 | 0.41912 | 7.4583 | 0.058174 | 18.9973 | 0.21847 | 15.4114 | 0.058563 | 24.9657 | 0.052428 | 0.17694 | 0.0038927 | 0 | 0
| PNNL 285 | 1.5934 | 0.080628 | 24.4894 | 0.20816 | 12.0869 | 0.11845 | 27.8525 | 0.69074 | 0.28346 | 0.0050739 | 245.559 | 4.1499 | 0.14223 | 0.0023183 | 0 | 0
| PNNL 286 | 1.4161 | 0.013312 | 9.2754 | 0.10852 | 7.2211 | 0.03755 | 12.1947 | 0.060974 | 0.30124 | 0.0029823 | 71.0361 | 0.17759 | 0.82152 | 0.0040255 | 0 | 0
| PNNL 287 | 1.7186 | 0.025263 | 11.347 | 0.17588 | 7.0491 | 0.045114 | 13.7737 | 0.10606 | 0.50518 | 0.020005 | 62.7184 | 0.075262 | 0.45636 | 0.00068454 | 0 | 0
| PNNL 288 | 7.9885 | 0.32034 | 16.587 | 0.64523 | 9.4329 | 0.16508 | 24.568 | 0.42011 | 141.5188 | 0.55192 | 8.0448 | 0.10378 | 0.36828 | 0.0027621 | 0 | 0
| PNNL 289 | 0.93408 | 0.038484 | 0 | 0 | 0.42718 | 0.018326 | 0.50107 | 0.018089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PNNL 290 | 0.42779 | 0.008898 | 0 | 0 | 0.44547 | 0.027085 | 0.48353 | 0.0074464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes: | There was no sample 258
Sample 285 (as identified by the label on the bottle), had 252 written on the cap
Sample 260 contained particulates; these were allowed to settle before a subsamples was removed for ICP analysis

## Results (unsorted)
Analysis of Kaizad's Ammonium Extraction Samples (CB Sites)
|  | Na |  | K |  | Ca |  | Mg |  | Fe |  | Al |  | Mn |  | P
|  | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev | mg L-1 | stdev
| Sample Name | 0=<0.2 mg L-1 |  | 0=<0.6 mg L-1 |  | 0=<0.02 mg L-1 |  | 0=<0.2 mg L-1 |  | 0=<0.04 mg L-1 |  | 0=<0.2 mg L-1 |  | 0=<0.04 mg L-1 |  | 0=<0.4 mg L-1
278 | PNNL 278 | 1.4144 | 0.04215 | 28.9797 | 0.1449 | 81.0101 | 0.66428 | 46.4878 | 1.0925 | 0.24743 | 0.0020537 | 72.6514 | 1.1116 | 0.062622 | 0.0011209 | 0 | 0
284 | PNNL 284 | 8.3834 | 0.15677 | 16.9685 | 0.41912 | 7.4583 | 0.058174 | 18.9973 | 0.21847 | 15.4114 | 0.058563 | 24.9657 | 0.052428 | 0.17694 | 0.0038927 | 0 | 0
282 | PNNL 282 | 14.3796 | 0.07046 | 16.0139 | 0.072062 | 10.3132 | 0.12685 | 27.3355 | 0.13668 | 1.4636 | 0.06147 | 31.7559 | 0.20959 | 0.20622 | 0.0089705 | 0 | 0
280 | PNNL 280 | 40.3137 | 0.20963 | 33.7445 | 0.10798 | 8.5108 | 0.05532 | 32.7645 | 0.2228 | 0.45955 | 0.0094667 | 65.8425 | 0.49382 | 0.041968 | 0.00063791 | 0 | 0
265 | PNNL 265 | 409.7218 | 8.5632 | 21.8869 | 0.32174 | 37.7988 | 0.12096 | 84.7403 | 1.3643 | 0 | 0 | 0.20899 | 0.015027 | 0.5654 | 0.0037316 | 0 | 0
267 | PNNL 267 | 400.576 | 3.8055 | 21.3651 | 0.29697 | 34.2008 | 0.19494 | 78.5868 | 0.88803 | 0.036597 | 0.00051236 | 0.28915 | 0.009889 | 0.46473 | 0.0023237 | 0 | 0
274 | PNNL 274 | 1.6174 | 0.097042 | 20.5725 | 0.055546 | 29.9517 | 0.062899 | 47.8215 | 0.99469 | 0.3538 | 0.0010614 | 135.2842 | 1.0958 | 0 | 0 | 0 | 0
275 | PNNL 275 | 1.5985 | 0.032609 | 31.8099 | 0.25766 | 44.0332 | 0.38749 | 55.8507 | 0.34627 | 0.36536 | 0.010449 | 112.801 | 0.4512 | 0.16502 | 0.0048681 | 0 | 0
287 | PNNL 287 | 1.7186 | 0.025263 | 11.347 | 0.17588 | 7.0491 | 0.045114 | 13.7737 | 0.10606 | 0.50518 | 0.020005 | 62.7184 | 0.075262 | 0.45636 | 0.00068454 | 0 | 0
268 | PNNL 268 | 405.3054 | 7.4982 | 19.6441 | 0.39092 | 32.1478 | 0.35684 | 78.0798 | 0.86669 | 0 | 0 | 0.27399 | 0.032961 | 0.79497 | 0.0062008 | 0 | 0
270 | PNNL 270 | 1.7338 | 0.17216 | 31.6906 | 0.31057 | 42.7616 | 0.6628 | 55.3205 | 0.2766 | 0.27309 | 0.0085204 | 111.6776 | 1.2061 | 0.16246 | 0.006661 | 0 | 0
276 | PNNL 276 | 2.4501 | 0.082077 | 0.88432 | 0.1032 | 0.47896 | 0.019494 | 0.51552 | 0.02258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
269 | PNNL 269 | 0.87081 | 0.0053119 | 8.6324 | 0.020718 | 25.3263 | 0.083577 | 11.8698 | 0.045105 | 0.27307 | 0.007646 | 41.5885 | 0.19547 | 0.13226 | 0.00093901 | 0 | 0
279 | PNNL 279 | 1.3778 | 0.017774 | 21.6089 | 0.22257 | 88.3431 | 0.91877 | 58.3779 | 1.0566 | 0.26679 | 0.013846 | 101.4597 | 1.3393 | 0.40663 | 0.0015452 | 0 | 0
273 | PNNL 273 | 1.2125 | 0.0090937 | 32.5076 | 0.28282 | 46.4758 | 0.19055 | 37.7266 | 0.37349 | 0.40426 | 0.0046085 | 100.8425 | 0.41345 | 0.059957 | 0.00036574 | 0 | 0
263 | PNNL 263 | 0.53183 | 0.012179 | 0 | 0 | 0.45838 | 0.0021544 | 0.50014 | 0.0064018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
283 | PNNL 283 | 6.2536 | 0.13383 | 12.7561 | 0.38523 | 6.0051 | 0.075063 | 16.7209 | 0.16219 | 14.5325 | 0.050864 | 18.27 | 0.12424 | 0.13542 | 0.0033043 | 0 | 0
277 | PNNL 277 | 0.58613 | 0.0092609 | 0 | 0 | 0.42793 | 0.0042793 | 0.53607 | 0.0068616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
271 | PNNL 271 | 1.7796 | 0.016372 | 30.8983 | 0.78791 | 187.6026 | 2.3826 | 65.0266 | 1.1445 | 0.15817 | 0.0040175 | 37.412 | 0.62852 | 0.13882 | 0.000708 | 0 | 0
290 | PNNL 290 | 0.42779 | 0.008898 | 0 | 0 | 0.44547 | 0.027085 | 0.48353 | 0.0074464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
272 | PNNL 272 | 1.3405 | 0.016354 | 23.0192 | 0.43046 | 99.2972 | 0.57592 | 41.297 | 0.31386 | 0.25421 | 0.0045249 | 75.6775 | 0.29514 | 0.061723 | 0.001216 | 0 | 0
286 | PNNL 286 | 1.4161 | 0.013312 | 9.2754 | 0.10852 | 7.2211 | 0.03755 | 12.1947 | 0.060974 | 0.30124 | 0.0029823 | 71.0361 | 0.17759 | 0.82152 | 0.0040255 | 0 | 0
289 | PNNL 289 | 0.93408 | 0.038484 | 0 | 0 | 0.42718 | 0.018326 | 0.50107 | 0.018089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
281 | PNNL 281 | 4.2942 | 0.14343 | 13.2338 | 0.39172 | 9.161 | 0.14383 | 19.6013 | 0.30382 | 4.3199 | 0.0090718 | 25.4877 | 0.23704 | 0.20705 | 0.0032714 | 0 | 0
288 | PNNL 288 | 7.9885 | 0.32034 | 16.587 | 0.64523 | 9.4329 | 0.16508 | 24.568 | 0.42011 | 141.5188 | 0.55192 | 8.0448 | 0.10378 | 0.36828 | 0.0027621 | 0 | 0
260 | PNNL 260 | 321.1015 | 3.9495 | 22.4561 | 0.20884 | 35.6503 | 0.44563 | 72.2486 | 0.80196 | 0.19082 | 0.090964 | 0 | 0 | 0.23119 | 0.0032135 | 0 | 0
285 | PNNL 285 | 1.5934 | 0.080628 | 24.4894 | 0.20816 | 12.0869 | 0.11845 | 27.8525 | 0.69074 | 0.28346 | 0.0050739 | 245.559 | 4.1499 | 0.14223 | 0.0023183 | 0 | 0
239 | PNNL 239 | 0.98538 | 0.021186 | 13.0561 | 0.21934 | 89.5922 | 0.68986 | 23.822 | 0.17866 | 0 | 0 | 1.2401 | 0.018601 | 0.14209 | 0.0055131 | 0 | 0
264 | PNNL 264 | 0.37825 | 0.020047 | 0 | 0 | 0.47967 | 0.043986 | 0.48482 | 0.015466 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
245 | PNNL 245 | 1.0467 | 0.039461 | 21.2399 | 0.58197 | 122.9606 | 2.3854 | 38.2019 | 0.77932 | 0 | 0 | 9.099 | 0.070062 | 0.34759 | 0.0042058 | 0 | 0
247 | PNNL 247 | 47.1562 | 0.4527 | 31.8257 | 0.26415 | 34.5256 | 0.32799 | 34.7439 | 0.25016 | 0.40295 | 0.0047951 | 33.9318 | 0.1018 | 0.4831 | 0.0027536 | 0 | 0
266 | PNNL 266 | 325.124 | 9.6887 | 18.6043 | 0.41116 | 46.8412 | 0.12647 | 83.0764 | 0.29908 | 0.052932 | 0.002202 | 0 | 0 | 0.62694 | 0.0035735 | 0 | 0
254 | PNNL 254 | 6.9808 | 1.6607 | 17.1131 | 3.5972 | 11.7087 | 1.3102 | 21.915 | 1.9417 | 7.5632 | 0.21404 | 19.4184 | 1.4428 | 0.39923 | 0.024513 | 0 | 0
241 | PNNL 241 | 1.6411 | 0.19086 | 29.2351 | 3.6632 | 143.724 | 5.0447 | 34.7227 | 2.2743 | 0 | 0 | 1.7382 | 0.067791 | 0.40416 | 0.0068303 | 0 | 0
261 | PNNL 261 | 438.6628 | 29.8291 | 29.7364 | 1.695 | 30.9204 | 0.31539 | 84.1828 | 3.7293 | 0 | 0 | 0 | 0 | 0.21852 | 0.0047419 | 0 | 0
256 | PNNL 256 | 2.5858 | 0.39149 | 13.6418 | 0.70801 | 22.4345 | 0.44869 | 24.045 | 0.60353 | 0.22637 | 0.0038936 | 64.3235 | 1.1964 | 1.1575 | 0.011112 | 0 | 0
255 | PNNL 255 | 2.456 | 0.077855 | 34.5717 | 2.1918 | 34.7041 | 0.21864 | 37.8224 | 1.6188 | 0.35087 | 0.006842 | 100.9197 | 3.5423 | 0.99732 | 0.0028922 | 0 | 0
262 | PNNL 262 | 3.4668 | 0.1827 | 15.3707 | 0.53798 | 16.078 | 0.35854 | 21.6189 | 0.5902 | 0.43216 | 0.0052292 | 45.7843 | 0.34796 | 0.71207 | 0.0096842 | 0 | 0
240 | PNNL 240 | 1.252 | 0.032928 | 26.6082 | 0.24746 | 46.1086 | 0.35504 | 23.0003 | 0.1771 | 0.089005 | 0.0024654 | 36.6791 | 0.10637 | 0.21087 | 0.0025093 | 0 | 0
251 | PNNL 251 | 0.38165 | 0.01332 | 0 | 0 | 0.37404 | 0.012642 | 0.45976 | 0.0045057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
259 | PNNL 259 | 430.5043 | 20.1907 | 24.0686 | 0.95312 | 38.2283 | 0.78368 | 89.2053 | 2.7564 | 0 | 0 | 0 | 0 | 0.40239 | 0.005553 | 0 | 0
248 | PNNL 248 | 12.1586 | 0.30275 | 17.095 | 0.60687 | 29.2415 | 0.36844 | 34.3941 | 0.57782 | 0.383 | 0.008809 | 13.6144 | 0.1661 | 0.71218 | 0.0054126 | 0 | 0
244 | PNNL 244 | 1.7754 | 0.043497 | 44.3247 | 0.55406 | 67.7787 | 1.159 | 47.4072 | 0.099555 | 0.12251 | 0.0042022 | 85.6633 | 0.66817 | 0.26002 | 0.0054864 | 0 | 0
252 | PNNL 252 | 15.561 | 0.052908 | 20.3221 | 0.091449 | 19.3086 | 0.11585 | 35.5466 | 0.14574 | 0.92627 | 0.0063912 | 24.2908 | 0.11417 | 0.68371 | 0.0051278 | 0 | 0
249 | PNNL 249 | 4.6064 | 0.033166 | 41.1108 | 0.25489 | 63.4516 | 0.67893 | 43.8622 | 0.096497 | 0.080576 | 0.0036823 | 73.625 | 0.6479 | 0.24205 | 0.0095853 | 0 | 0
250 | PNNL 250 | 0.52319 | 0.015068 | 0 | 0 | 0.44874 | 0.01059 | 0.49471 | 0.0082616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
253 | PNNL 253 | 11.1101 | 0.28553 | 16.9329 | 0.3268 | 14.7315 | 0.13258 | 29.7606 | 0.38986 | 1.262 | 0.0050479 | 27.5746 | 0.082724 | 0.48431 | 0.002809 | 0 | 0
246 | PNNL 246 | 1.7206 | 0.017722 | 33.1081 | 0.30791 | 151.6249 | 0.27292 | 74.4541 | 0.29782 | 0 | 0 | 7.0428 | 0.061272 | 0.6481 | 0.001361 | 0 | 0
242 | PNNL 242 | 1.3556 | 0.012065 | 29.2831 | 0.52417 | 94.5791 | 0.38777 | 29.5106 | 0.17706 | 0 | 0 | 2.1381 | 0.012615 | 0.10772 | 0.0019067 | 0 | 0
243 | PNNL 243 | 1.2981 | 0.014539 | 41.325 | 1.1695 | 100.1176 | 2.3227 | 50.8057 | 1.2143 | 0 | 0 | 22.5124 | 0.5493 | 0.53292 | 0.0018652 | 0 | 0
257 | PNNL 257 | 3.4781 | 0.041389 | 15.2413 | 0.19661 | 17.8975 | 0.10738 | 22.6586 | 0.14728 | 0.45239 | 0.0056549 | 53.4508 | 0.22449 | 0.76696 | 0.0024543 | 0 | 0
Notes: | There was no sample 258
Sample 285 (as identified by the label on the bottle), had 252 written on the cap
Sample 260 contained particulates; these were allowed to settle before a subsamples was removed for ICP analysis

## Analytical Conditions
PerkinElmer Optima 4300DV ICP-OES operating conditions
Parameter | Setting
View mode | Radial
View distance | 15 mm
Plasma | Argon
RF generator power | 1400 W
Shear gas | Air
Gas flow: plasma | 17 mL min-1
Gas flow: auxiliary | 0.2 mL min-1
Gas flow: nebulizer | 0.8 mL min-1
Sample aspiration rate | 1.5 mL min-1
Detector | CCD
Emission line: Al | 396.153 nm
Emission line: Ca | 315.887 nm
Emission line: Fe | 259.939 nm
Emission line: K | 766.490 nm
Emission line: Mg | 285.213 nm
Emission line: Mn | 285.213 nm
Emission line: Na | 589.592 nm
Emission line: P | 214.914 nm
Rinse delay | 30 sec
Read delay | 30 sec
Source equilibration time | 30 sec
Read | Peak area
Number of replicates | 3