## Cust Report
Oregon State University
Soil Health Laboratory
soil.lab@oregonstate.edu 541-737-2187
Crop and Soil Science Department 3079 Ag-Life Sciences Bldg Corvallis, OR 97331
Soil Health Analysis Report
Name: | Kaizad Patel
Organization: | Pacific Northwest National Laboratory
Contact for results: | kaizad.patel@pnnl.gov
Date submitted: | 2022-10-10
Date delivered: | 2022-11-02
Group number: | 223100
Method Descriptions
Manual NO3 | 2M KCl extraction measured using Griess reagents on VWR V1200 spectrophotometer
Lachat-NH4-N | 2M KCl extraction measured on Lachat QuikChem 8500 Series 2 flow injection analyzer
BQL | Below quantifiable limit. < 0.2 ppm NO3-N detected in 2M KCl extract

## NO3-N data
Customer ID # | NO3-N (ppm raw extract)
239 | BQL
240 | BQL
241 | BQL
242 | BQL
243 | BQL
244 | BQL
245 | BQL
246 | BQL
247 | BQL
248 | BQL
249 | BQL
250 | BQL
251 | BQL
252 | BQL
253 | BQL
254 | BQL
255 | BQL
256 | BQL
257 | BQL
258 | BQL
259 | BQL
260 | BQL
261 | BQL
262 | BQL
263 | BQL
264 | BQL
265 | BQL
266 | BQL
267 | BQL
268 | BQL
269 | BQL
270 | BQL
271 | BQL
272 | BQL
273 | BQL
274 | BQL
275 | BQL
276 | BQL
277 | BQL
278 | BQL
279 | BQL
280 | BQL
281 | BQL
282 | BQL
283 | BQL
284 | BQL
285 | BQL
286 | BQL
287 | BQL
288 | BQL
289 | BQL
290 | BQL

## NH4-N data
Sample Identification | 2022-10-13 | 2022-11-02
Customer ID # | NH4-N (ppm) w/ SHL 2M KCl | NH4-N (ppm) w/ K.P's 2M KCl
239 | 2.47 | 3.51
240 | 2.56 | 3.53
241 | 2.53 | 3.48
242 | 2.97 | 3.91
243 | 1.8 | 2.75
244 | 1.7 | 2.68
245 | 1.86 | 2.82
246 | 1.58 | 2.48
247 | 2.08 | 3.11
248 | 1.59 | 2.52
249 | 2.16 | 3.09
250 | 1.69 | 2.57
251 | 1.75 | 2.67
252 | -0.628 | 0.284
253 | -0.736 | 0.161
254 | 0.931 | 1.88
255 | -0.438 | 0.466
256 | -0.666 | 0.236
257 | -0.702 | 0.183
258 | -0.399 | 0.489
259 | -0.0678 | 0.671
260 | -0.745 | 0.848
261 | -0.76 | 0.133
262 | -0.812 | 0.124
263 | -0.841 | 0.0565
264 | -0.246 | 0.0425
265 | -0.457 | 0.664
266 | -0.459 | 0.418
267 | -0.438 | 0.443
268 | -0.471 | 0.472
269 | -0.338 | 0.405
270 | -0.469 | 0.574
271 | -0.511 | 0.458
272 | -0.594 | 0.39
273 | -0.801 | 0.289
274 | 0.0847 | 0.093
275 | -0.814 | 0.987
276 | -0.824 | 0.0649
277 | -0.721 | 0.0461
278 | -0.571 | 0.184
279 | -0.654 | 0.306
280 | 0.606 | 0.256
281 | 0.33 | 1.48
282 | 2.97 | 1.24
283 | 3.24 | 3.98
284 | -0.299 | 4.18
285 | -0.495 | 0.613
286 | -0.646 | 0.392
287 | -0.737 | 0.299
288 | -0.814 | 0.196
289 | -1.33 | 0.121
290 | 1.09 | 0.0532